## Data
Date of Measurement: 2081/11/11
Measurnment Number :- 01 |  | 1
Bill No.:1st Running Bill | F/Y:- 81/82 | 1
Name of Project:xx |  | xx
Name of Works: xx |  | xx
Project Implement place :- xx |  | - xx
Contract Identification No:- xx |  | - xx
Client : - xx |  | xx
Name of Contractor: xx |  | xx
Agreement Date: 2081/07/26 |  | 2081/07/26
Date of Completion:xx |  | xx
Time Extension : -
Date of Work Order: xx |  | xx
New Completion Date after Variation:
Work completed Date :- Running
Date of Work Order: xx |  | xx
Client :- xx |  | xx
Division Chief/ Project Manager :- |  | :-
Pan no :-
Submitted by :
Address:

## BOQ
a | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
b | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
c | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
d | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
e | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
f | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
Bill of Contract
Name of Works: xx | [11 empty] | Bill No.:1st Running Bill
Name of Project:xx | [11 empty] | Date of Work Order: xx
Name of Contractor: xx | [11 empty] | Date of Completion:xx
Contract Identification No:- xx | [11 empty] | Date of Time Extension:
Date of Measurement: 2081/11/11 | [8 empty] | Work Progress | 0% |  | Date of work completed:
S.N. | Work Description | Unit | As per BOQ |  |  | As per VO1 |  |  | Upto Date Work Till Date |  | Previous Bill |  | Current Bill |  | Remaining Bill |  | Remarks
|  |  | Quantity | Rate | Total Amount | Quantity | Rate | Total Amount | Quantity | Total Amount | Quantity | Total Amount | Quantity | Total Amount | Quantity | Total Amount
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
1 | General works
1.1 | Relocation of services / minor infrastructures, Engineer's facility, Office accessories and equipments, Quality Control as per specifications and instruction of the Engineer.[111] | PS | 1 | 50000 | 50000 |  | 50000 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | #REF!
1.2 | Provision of Insurance for the loss or damage to the Works, Plant, and Materials; as per SCC 19.1 [SS 100] | PS | 1 | 50000 | 50000 |  | 50000 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 |  | #REF!
| Sub-Total 1 |  |  |  | 100000 |  |  |  |  | 0 |  | 0 |  | 0
2 | Earthwork | [13 empty] | 0 |  |  | #REF!
2.1 | Road way Excavation in all types (including hard rock) of soil as per Drawing and technical specifications including removal of stumps and other deleterious matter, all lifts and lead as per Drawing and instruction of the Engineer[905] | Cum | 3000 | 80 | 240000 |  | 80 |  |  | 0 |  | 0 | 0 | 0 | 0 |  |  | #REF!
| Sub-Total 2 |  |  |  | 240000 |  |  |  |  | 0 |  | 0 |  | 0
3 | Structural Works | [13 empty] | 0 | 0 |  | #REF!
3.1 | Excavation for Structures Foundation, Earth work in excavation of foundation of structures, including construction of shoring and bracing, removal of stumps and other deleterious matter & Backfilling with Suitable Material as per Drawing and Technical Specifications.,[907] | Cum | 443.18 | 50 | 22159 |  | 50 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 |  | #REF!
3.2 | Providing and laying of hand pack Stone soling with 150 to 200 mm thick stones and packing with smaller stone on prepared surface as per Drawing and Technical Specifications.[1006] | Cum | 158.95 | 2200 | 349690 |  | 2200 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 |  | #REF!
3.3 | Providing and laying of Plain Cement Concrete M 10 ( or 1:3:6 for nominal mix) in Foundation complete as per Drawing and Technical Specifications.[2000] | Cum | 2.16 | 6000 | 12960 |  | 6000 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 |  | #REF!
3.4 | Providing and laying of Plain/Reinforced Cement Concrete in Foundation complete as per Drawing and Technical Specifications, PCC Grade M 15 including formworks all complete.[2000] | Cum | 22.62 | 7000 | 158340 |  | 7000 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 |  | #REF!
3.5 | Providing and laying Plum concrete ( Boulder mixed concrete) as per Drawing and Specifications, 60% M 15 concrete and 40% boulders/stones,Including Formwork using Mechanical Aids[2421] | Cum | 423.26 | 6250 | 2645375 |  | 6250 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 |  | #REF!
3.6 | Random Rubble Masonry, Providing and laying of Stone Masonry Work in Cement Mortar 1:4 in Foundation complete as per Drawing and Technical Specifications., Using Concrete Mixer[2602,2603] | Cum | 164.44 | 5000 | 822200 |  | 5000 | 0 |  | 0 |  | 0 | 0 | 0
3.7 | Providing, Assembling & providing and filling stone in mechanically woven double twisted crates / mattress including rolling, cutting and with lacing wire and binding wire as per specification , Hexagonal mesh type 100 mm x 120 mm, mesh wire 3 mm, selvage wire 3.9 mm, lacing wire 2.4 mm [SS 2402] | Cum | 97.5 | 3500 | 341250 |  | 3500 | 0 |  | 0 |  | 0 | 0 | 0
3.8 | Laying and fixing of Geo-Textile all complete as per specification., Providing and laying of a geotextile filter between pitching and embankment slopes as per Drawing and Technical Specifications.[2404] | Sqm | 57 | 70 | 3990 |  | 70 | 0 |  | 0 |  | 0 | 0 | 0
| Sub-Total 3 |  |  |  | 4355964 |  |  | 0 |  | 0 |  | 0 |  | 0
4 | Pavement Works | [6 empty] | 0 | [6 empty] | 0 | 0 |  | #REF!
4.1 | Providing and laying of Plain/Reinforced Cement Concrete in Foundation complete as per Drawing and Technical Specifications., RCC Grade M 25/20 including formwork [2000] | Cum | 92.12 | 8000 | 736960 |  | 8000 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 |  | #REF!
4.2 | Providing and laying , fitting and placing un-coated Mild steel / HYSD reinforcement complete in foundation as per drawing and technical specification [2014] | Ton | 3.83 | 110000 | 421300 |  | 110000 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 |  | #REF!
| Sub-Total 4 |  |  |  | 1158260 |  |  | 0 |  | 0 |  | 0 |  | 0
|  | Total with PS amount |  |  | 5275094 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | PS amount |  |  | 100000 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | Total without PS |  |  | 5175094 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | VAT 13% |  |  | 672762.22 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | Grand Total Inclusive VAT and PS |  |  | 5947856.22 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0